## Logit
Name | Conc | Resp | Dil | Result | Average | Del Result | ELISA Logit regression V01Jul2018 |  |  | Testdate:
[7 empty] | Correlation | 15% | Max CV% for bad average)
[7 empty] | Slope | 0 | Extrapolate (0=no, 1=yes, 2=between blank and highest dose)
[7 empty] | Intercept | 0 | Matrix? (0=no, 1=yes)
[7 empty] | Blank | 0 | Linear between blank and lowest dose (0=No, 1=yes, 2=spline)
[7 empty] | Bmax | 3 | Significant digits
[7 empty] | [1/2Bmax] | 1 | > or < result displayed (0=no, 1=yes)
[7 empty] | Iterations | Separator | 0 | 0=Space, 1=Comma, 2=Semicolon
[8 empty] | Export file |  |  | dd-mmm-yyyy hh:mm:ss
Abs file

## Datasheet
Put here the Absorbances (B6 - M13)
If the data are in ASCII then: File, open, select in 'files of type' "text files" and import the data. Select the proper delimiter to get every absorbtion in a separate excel cell.
Then select the data, press copy and return to this sheet. Put the cursor in cell B6 and press paste.
Absorbance matrix
Put here the concentration of the calibration curve in bold fontface. Do not forget a blank with concentration 0 !! Enter the name of the samples in normal font (B22 - M29)
Concentration matrix
Put here the dilutions of the samples (B36 - M43)
Dilution matrix
Results
.
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | l | l | l | l | l | l | l | l | l | l | l | l
B | l | l | l | l | l | l | l | l | l | l | l | l
C | l | l | l | l | l | l | l | l | l | l | l | l
D | l | l | l | l | l | l | l | l | l | l | l | l
E | l | l | l | l | l | l | l | l | l | l | l | l
F | l | l | l | l | l | l | l | l | l | l | l | l
G | l | l | l | l | l | l | l | l | l | l | l | l
H | l | l | l | l | l | l | l | l | l | l | l | l

## Instructions
ELISA LOGIT short manual
The 'Get ELISA data' button copies data from the Datasheet sheet in the Logit sheet and performs a logit regression on the calibration line data.
After pressing the 'Logit' button a logit regression is performed and results are calculated. If there is a 1 in cell J4 a result matrix is printed. (NB Matrix is sorted after "Sort on Name")
The 'Calc average' button calculates the mean of samples with the same name adjacent to each other. Cell J2 contains the max Coefficient of Variation value for flagging "Bad Average"
Column AA-AD contains the data before deleting results as backup.
The 'Sort on Name' button sorts the calibration line to top and sorts the sample names. (NB The result matrices are also sorted and become unusable)
Enter in cell J3 a 0 if no results should be calculated outside the lowest and highest point a the calibration curve. (recommended)
Enter a 1 for extrapolation of the results or a zero for no extrapolation. Enter 2 for Spline curve fit
Enter in cell J3 a 2 if no results should be calculated outside the Blank and highest point a the calibration curve.
It is possible to calculate results between the lowest calibration dose and the blank with linear regression. Enter a 1 before the field "Linear between blank and lowest dose"
The linear calculated results will be underlined.
Enter a zero before "'> or < result displayed (0=no, 1= yes)" if the range values should not be displayed
15% | Max deviation for bad average
0 | Extrapolate (0=no, 1=yes, 2=between blank and highest doset)
Matrix? Empty = no
0 | Linear between blank and lowest dose (0=No, 1=yes, 2=spline)
3 | significant digits
0 | > or < result disp[ayed (0=no, 1= yes)
File names
| Separator | 1 | 0 = Space, 1=Comma, 2=Semicolon
| Export | export.txt
Abs file
Absorbances in a file are separated by a character, the delimiter. The space, comma and semicolon are often used for the separation.
Choose the type of separator with a 0, 1 or 2
The export file name can be given, including a path if needed
If the cell "Abs file" is empty a file open dialog box is opened and a filename is asked for.
If an absorbance file name is given than the program does not ask for a file name.
ELISA data
Place the absorbances in B6-M13
Put the concentrations and sample names in area B22-M29.
Put the dilutions in range B36-M43. If blank no dilution is assumed
Manual input of data
Enter a sample name/number in column A. Samples can be sorted on the name entered in this column.
Enter the concentrations of the standard curve in column B. A blank is obligatory (concentration = 0).
If more than one blank is entered the average of these blanks is used in the regression.
Enter the responses in column C.
Enter a dilution in column D. If no dilution is entered then 1 is assumed
Press ALT+L or the Logit button to start the calculation.
Remove a response in the calibration line by selecting it and pressing the 'Italic' (CTRL+I) button. This point will be omitted and moved to column E after Logit for recalculation has been pressed
Keep your data between 1 and 1000 to avoid awful graphs. Use milli Abs instead of Abs (234 instead of 0.234)
|  |  | Dil | Result
The sheet will look something like this:
Name | Conc | Meas
| 0 | 0
| 1 | 3
| 2 | 5
| 4 | 22
| 8 | 42 | 1
| 16 | 77 | 2
| 32 | 110
Sample1 |  | 66 | 2
Sample2 |  | 44 | 1
Sample3 |  | 22 | 1
Sample4 |  | 11
Sample5 |  | 77
Results
The folowing parameters are calculated
ELISA Logit regression V01Jul2018 |  |  |  | Version of the program
Correlation | 0.99956 |  |  | Measure of the fit.( Best practice: >0.9900 with 5 data points in duplo)
Slope | 1.0093 |  |  | Ln(( reponse-Blank) / (Bmax-response)) = slope * Ln conc + intercept
Intercept | -2.8994
Blank | 0.0135 |  |  | Repsonse of the blank
Bmax | 3.5504 |  |  | Response if concentration is infinite
[1/2Bmax] | 17.6836 |  |  | Concentration at 1/2 Bmax
Iterations | 28 |  |  | Iterations used to optimise the fit
Ed Nieuwenhuys
ednieuw@xs4all.nl
https://ednieuw.home.xs4all.nl
V22082003 --> V12032004 Improved sorting dilutions
V12032004 --> V21042005 Added linear interpolation, significant digits, > and < than concentration
V21042005 --> V04apr2007 absorbance file input directly from two types of ELISA-readers. Validated release D-VR-512-EN-005657
V04apr2007 --> V25Oct2009 Corrected some type errors in text. Validated release D-VR-512-EN-008349
V25Oct2009 --> V18jun2011 Corrected some type errors in text; added example files; added < or > result in average column
V18Jun2011 --> V14Apr2012 Added calculation of result > or < range times dilution
V01Sep2012 --> Added logit-log graph. Corrected minor issues
V19Jan 2013 --> Added Logit-Log graph hard coded in VB
V03Feb2013 --> Clean for Template button added; default no export.txt file. Validated release D-VR-512-EN-008651
V03Feb2013'_1 ---> Bugfix 10 jan 2014 Removed sorting after "Get ELISA data". Removed text with white font from cell in column K,L M and N. GAMP-5 validated release
V24May2017 --> Bug fix in matrices in Logit and Datasheet. They will not be sorted after sorting. Some textual changes. GAMP-5 validated release
V01Jan2018 --> Added Spline curve fit, date format under export button (O9)
V01Feb2018 --> Changed > and < limits, ie LLOQ and ULOQ, now based on concentration instead of min and max respons.
V01Mrt2018 --> Added p non-linearity calculation from "Inleiding tot de medische statistiek, 2de druk 1964, Preventieve Geneeskunde, Leiden", hoofdstuk 19 Made iteration steps smaller resulting is a slightly better fit (correlation)
V01Jul2018 --> Final validated release. Disabled p non-linearity calculation
Demo data: Copy them in the Datasheet.
Absorbance matrix
| 3794 | 3061 | 2264 | 1478 | 911 | 573 | 425 | 303 | 293 | 264 | 245 | 244
| 3815 | 3202 | 2205 | 1570 | 891 | 543 | 390 | 301 | 274 | 257 | 231 | 281
| 4831 | 4831 | 4831 | 4144 | 3192 | 2147 | 1288 | 743 | 464 | 311 | 258 | 237
| 4803 | 4985 | 4985 | 4985 | 4487 | 3772 | 2526 | 1427 | 776 | 459 | 336 | 237
| 3273 | 2598 | 1838 | 1086 | 625 | 382 | 266 | 228 | 214 | 198 | 250 | 232
| 4461 | 4634 | 4238 | 4078 | 3156 | 2074 | 1307 | 722 | 409 | 294 | 236 | 216
| 4411 | 4399 | 4055 | 3329 | 2568 | 1874 | 1129 | 646 | 407 | 285 | 239 | 163
| 4342 | 3720 | 3577 | 2992 | 2298 | 1543 | 983 | 550 | 352 | 264 | 370 | 222
Put here the concentration of the calibration curve in bold fontface. Do not forget a blank!! Enter the name of the samples in normal font (B22 - M29)
Concentration matrix
| 0.0544 | 0.0272 | 0.0136 | 0.0068 | 0.0034 | 0.0017 | 0.00085 | 0 | Empty | Empty | Empty | Empty
| 0.0544 | 0.0272 | 0.0136 | 0.0068 | 0.0034 | 0.0017 | 0.00085 | 0 | Empty | Empty | Empty | Empty
| 15105 | 15105 | 15105 | 15105 | 15105 | 15105 | 15105 | 15105 | 15105 | 15105 | Empty | Empty
| 758416 | 758416 | 758416 | 758416 | 758416 | 758416 | 758416 | 758416 | 758416 | 758416 | Empty | Empty
| 758426 | 758426 | 758426 | 758426 | 758426 | 758426 | 758426 | 758426 | 758426 | 758426 | Empty | Empty
| 15105 | 15105 | 15105 | 15105 | 15105 | 15105 | 15105 | 15105 | 15105 | 15105 | Empty | Empty
| 758829 | 758829 | 758829 | 758829 | 758829 | 758829 | 758829 | 758829 | 758829 | 758829 | Empty | Empty
| 758879 | 758879 | 758879 | 758879 | 758879 | 758879 | 758879 | 758879 | 758879 | 758879 | Empty | Empty
Put here the dilutions of the samples (B36 - M43)
Dilution matrix
| 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| 50 | 100 | 200 | 400 | 800 | 1600 | 3200 | 6400 | 12800 | 25600 | 1 | 1
| 50 | 100 | 200 | 400 | 800 | 1600 | 3200 | 6400 | 12800 | 25600 | 1 | 1
| 50 | 100 | 200 | 400 | 800 | 1600 | 3200 | 6400 | 12800 | 25600 | 1 | 1
| 50 | 100 | 200 | 400 | 800 | 1600 | 3200 | 6400 | 12800 | 25600 | 1 | 1
| 50 | 100 | 200 | 400 | 800 | 1600 | 3200 | 6400 | 12800 | 25600 | 1 | 1
| 50 | 100 | 200 | 400 | 800 | 1600 | 3200 | 6400 | 12800 | 25600 | 1 | 1
Spline test
| 858 | 877 | 69 | 35 | 106 | 125 | 469 | 414 | 175 | 516 | 854 | 689
| 900 | 802 | 65 | 39 | 109 | 164 | 454 | 398 | 179 | 564 | 804 | 649
| 165 | 138 | 90 | 97 | 338 | 144 | 164 | 464 | 606 | 632 | 201 | 696
| 154 | 543 | 90 | 93 | 344 | 144 | 166 | 448 | 572 | 651 | 197 | 727
| 42 | 302 | 133 | 139 | 74 | 108 | 759 | 475 | 658 | 564 | 182 | 440
| 32 | 319 | 150 | 153 | 78 | 110 | 693 | 52 | 678 | 513 | 199 | 442
| 394 | 159 | 45 | 237 | 161 | 154 | 459 | 466 | 169 | 173 | 730 | 308
| 420 | 168 | 48 | 247 | 155 | 151 | 438 | 50 | 166 | 184 | 693 | 255
| 200 | Hoog ctrl (15-93) | 754212 | 754768 | 758057 | 753136 | 755364 | 747297 | 751342 | 757093 | 748671 | 750512
| 200 | Midden ctrl (15-91) | 754212 | 754768 | 758057 | 753136 | 755364 | 747297 | 751342 | 757093 | 748671 | 750512
| 20 | Laag ctrl (15-132) | 754243 | 755325 | 747817 | 753812 | 981079 | 748432 | 751492 | 758388 | 748983 | 751093
| 20 | Anti C1q st. | 754243 | 755325 | 747817 | 753812 | 981079 | 748432 | 751492 | 758388 | 748983 | 751093
| 2 | 753922 | 754399 | 755461 | 752300 | 754159 | 747901 | 749431 | 754254 | 758202 | 749071 | 751958
| neg ctrl | 753922 | 754399 | 755461 | 752300 | 754159 | 747901 | 749877 | 754254 | 758202 | 749071 | 751958
| Pos ctrl | 754027 | 754492 | 755821 | 752410 | 755067 | 746708 | 749431 | 755786 | 746943 | 749879 | 752233
| Pos ctrl | 754027 | 754492 | 755821 | 752410 | 755067 | 746708 | 749877 | 755786 | 746943 | 749879 | 752233
| 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 100
| 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 100
| 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| 1 | 5 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| 1 | 5 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| 40 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 20
| 40 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 20